## Slide 1
城市供水管网抗震设计与控制研究
汇报人： 韩朝

## Slide 2
CONTENTS
01 研究内容
02 工作进展
03 问题与困惑
04 研究计划

## Slide 3
供水系统中的重要节点
用水用户中的重要节点
研究内容
供水管网抗震性态划分
供水管网抗震重要节点识别
供水管网震后分区供水
供水管网防灾布局设计
供水管网震害模拟系统开发
性态研究
优化设计
震后控制
韧性
鲁棒性
可靠性
供水管网抗震评价体系建立
多角度评价供水管网
划分管网抗震性态水平

## Slide 4
研究内容
供水管网抗震性态划分
供水管网抗震重要节点识别
供水管网震后分区供水
供水管网防灾布局设计
供水管网震害模拟系统开发
性态研究
优化设计
震后控制
管网分级
冗余度设置
设定地震下水厂布局

## Slide 5
研究内容
供水管网抗震性态划分
供水管网抗震重要节点识别
供水管网震后分区供水
供水管网防灾布局设计
供水管网震害模拟统开发
性态研究
优化设计
震后控制
建立地震破坏管网信息
调用程序计算水力平差
输出计算结果

## Slide 6
研究内容
供水管网抗震性态划分
供水管网抗震重要节点识别
供水管网震后分区供水
供水管网防灾布局设计
供水管网震害模拟系统开发
性态研究
优化设计
震后控制
管网分级
冗余度设置
设定地震下水厂布局
韧性
鲁棒性
可靠性
供水管网抗震评价体系建立
供水系统中的重要节点
用水用户中的重要节点
多角度评价供水管网
划分管网抗震性态水平
建立地震破坏管网信息
调用程序计算水力平差
输出计算结果

## Slide 7
工作进展
理论基础
传统DDA分析模型
低压PDD分析模型

## Slide 8
工作进展
1.输入原始管网，计算水力平差，得到
2.进行破坏管网水力分析（概率模拟）
2.1 第k次MC抽样（破坏管网）模拟
2.2 产生随机破坏位置、类型、开口面积
2.3 形成破坏管网水力模型（inp文件）
2.4 EPA水力分析得到节点流量、压力；管段流量、流速
2.5 调整节点需水量（wagner模型）
2.6 存储本次模拟的节点水压、水量；管段流量、流速；inp文件
2.7 N次模拟全部结束。求解节点水压均值、流量均值；管道流量均值，方差。
收敛条件
否
3.输出结果
MATLAB操作
动态链接库操作

## Slide 9
工作进展——计算案例
节点ID | DDA |  | PDD | 
 | 压力 | 压力 | 压力 | 压力
J-1 | 5.14 | 5.14 | 8.30 | 8.2915
J-2 | 0.71 | 0.71 | 8.16 | 8.1557
J-3 | -9.84 | -9.84 | 3.55 | 3.5468
J-4 | -7.87 | -7.87 | 7.35 | 7.3472
 | J-1 | J-2 | J-3 | J-4
工况1 | 2000 | 2000 | 3000 | 1000
工况2 | 2000 | 2000 | 3000 | 4000
 | 压力 | 压力
J-1 | 7.30 | 7.30
J-2 | 6.27 | 6.27
J-3 | 1.24 | 1.24
J-4 | 6.01 | 6.01

## Slide 10
案例二
数据来源于侯本伟博士论文

## Slide 11
管道编号 | 起始节点 | 终止节点 | 长度 | 直径（m） | 流量（l/s) | 管道编号 | 起始节点 | 终止节点 | 长度 | 直径（m） | 流量（l/s)
1 | 1 | 2 | 348.5 | 0.327 | 5.70 | 18 | 1 | 19 | 583.9 | 0.164 | 9.50
2 | 2 | 3 | 955.7 | 0.290 | 15.50 | 19 | 5 | 18 | 452 | 0.229 | 7.30
3 | 3 | 4 | 483 | 0.100 | 7.80 | 20 | 6 | 16 | 794.7 | 0.100 | 12.90
4 | 3 | 9 | 400.7 | 0.290 | 6.50 | 21 | 7 | 15 | 717.7 | 0.100 | 11.70
5 | 2 | 4 | 791.9 | 0.100 | 12.90 | 22 | 8 | 14 | 655.6 | 0.258 | 10.70
6 | 1 | 5 | 404.4 | 0.368 | 6.60 | 23 | 15 | 14 | 165.5 | 0.100 | 2.70
7 | 5 | 6 | 390.6 | 0.327 | 6.30 | 24 | 16 | 15 | 352.1 | 0.100 | 4.10
8 | 6 | 4 | 482.3 | 0.100 | 7.80 | 25 | 17 | 16 | 331.5 | 0.100 | 5.40
9 | 9 | 10 | 934.4 | 0.100 | 15.20 | 26 | 18 | 17 | 500 | 0.204 | 8.10
10 | 11 | 10 | 431.3 | 0.184 | 7.00 | 27 | 17 | 21 | 579.9 | 0.164 | 9.40
11 | 11 | 12 | 513.1 | 0.100 | 8.30 | 28 | 19 | 23 | 842.8 | 0.100 | 13.70
12 | 10 | 13 | 428.4 | 0.186 | 7.00 | 29 | 21 | 20 | 792.6 | 0.100 | 12.90
13 | 12 | 13 | 419 | 0.100 | 6.80 | 30 | 20 | 14 | 846.3 | 0.184 | 13.80
14 | 22 | 13 | 1023.1 | 0.100 | 16.60 | 31 | 9 | 11 | 164 | 0.258 | 2.70
15 | 8 | 22 | 455.1 | 0.164 | 7.40 | 32 | 23 | 21 | 427.9 | 0.100 | 7.00
16 | 7 | 8 | 182.6 | 0.290 | 3.00 | 33 | 19 | 18 | 379.2 | 0.100 | 6.20
17 | 6 | 7 | 221.3 | 0.290 | 3.60 | 34 | 24 | 1 | 158.2 | 0.368 | 0.00

## Slide 12
节点编号 | 需水量（l/s) | 高程 | 压力
1 | 10.90 | 6.4 | 26.90
2 | 17.05 | 7 | 24.81
3 | 14.90 | 6 | 21.30
4 | 14.25 | 8.4 | 17.22
5 | 10.10 | 7.4 | 23.54
6 | 15.30 | 9 | 20.10
7 | 9.15 | 9.1 | 18.91
8 | 10.55 | 9.5 | 17.90
9 | 12.20 | 8.4 | 17.85
10 | 14.60 | 10.5 | 12.66
11 | 9.00 | 9.6 | 16.23
12 | 7.55 | 11.7 | 10.12
13 | 15.20 | 12.3 | 10.03
14 | 13.60 | 10.6 | 15.41
15 | 9.25 | 10.1 | 14.00
16 | 11.20 | 9.5 | 14.36
17 | 11.45 | 10.2 | 15.30
18 | 10.80 | 9.6 | 18.83
19 | 14.68 | 9.1 | 19.35
20 | 13.35 | 13.9 | 10.01
21 | 14.65 | 11.1 | 11.48
22 | 12.00 | 11.4 | 14.00
23 | 10.35 | 10 | 10.45
24 | #### | 15 | 21.40

## Slide 13
结果

## Slide 14
问题与困惑——程序开发
模拟管道破坏
  确定管网泄露条件
破坏管网低压节点处理
提高计算效率
  Matlab调用动态链接库，读取数据

## Slide 15
计算效率
减少循环
循环1，从动态链接库中读入节点压力
循环2，判断节点水压，改变节点需水量
循环3，将改变后的节点水压赋值给内存管网文件
动态链接库操作
Matlab操作
问题：没有批量读写函数，仅有单个读写函数

## Slide 16
问题与困惑——水厂防灾布局难点
场地条件影响地震动衰减
水源布置受地理条件影响较大

## Slide 17
SECTION BREAK

## Slide 18
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab.
ADD YOUR TITLE HERE

## Slide 19
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab.
ADD YOUR TITLE HERE

## Slide 20
ADD YOUR TITLE HERE
Chart: 
| 第一季度 | 第二季度 | 第三季度 | 第四季度
销售额 | 8.2 | 3.2 | 1.4 | 1.2
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Chart: 
| 第一季度 | 第二季度 | 第三季度 | 第四季度
销售额 | 8.2 | 3.2 | 1.4 | 1.2
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Chart: 
| 第一季度 | 第二季度 | 第三季度 | 第四季度
销售额 | 8.2 | 3.2 | 1.4 | 1.2
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE

## Slide 21
ADD YOUR TITLE HERE
Chart: 
| 37261 | 37262 | 37263 | 37264 | 37265
系列 1 | 32 | 32 | 28 | 12 | 15
系列 2 | 12 | 12 | 12 | 21 | 28
系列 3 | 18 | 23 | 56 | 30 | 41
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE

## Slide 22
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab.
ADD YOUR TITLE HERE

## Slide 23
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE

## Slide 24
ADD YOUR TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE
TITLE HERE

## Slide 25
ADD YOUR TITLE HERE
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.
ADD YOUR TITLE HERE
Title, number etc. can be changed by clicking and reentering. You can change the font, font size, color, space on the Home tab. Title, number etc.

## Slide 26
THANK YOU
FOR WATCHING